INDEPENDENT MARKET & BENCHMARK NOTE

Project Helios Solar & Storage - Illustrative POC Support Document

IMPORTANT: This document and all figures are entirely synthetic and were created solely for a proof-of-concept demonstration.

# 1. Scope and limitations

This synthetic note provides a compact market and benchmark reference for the POC. It is designed to test document retrieval, metric extraction, benchmark comparison and identification of unsupported assumptions. It is not investment advice and does not represent an actual market forecast.

# 2. Illustrative market outlook

| Year | GDP growth | Inflation | THB/USD | Merchant power price |
| --- | --- | --- | --- | --- |
| 2026 | 3.0% | 1.5% | 35.8 | $61/MWh |
| 2027 | 3.2% | 1.8% | 36.1 | $63/MWh |
| 2028 | 3.3% | 2.0% | 36.5 | $64/MWh |
| 2029 | 3.4% | 2.1% | 36.8 | $65/MWh |
| 2030 | 3.2% | 2.0% | 37.0 | $66/MWh |

The merchant-price path above is synthetic. The project submission references a similar curve but does not append an independent source or methodology.

# 3. Solar and storage benchmark ranges

| Metric | Illustrative peer range | Helios submission | Observation |
| --- | --- | --- | --- |
| Solar EPC cost | USD 0.55-0.75m/MW | USD 0.61m/MW excluding BESS | Within range |
| BESS equipment | USD 0.20-0.25m/MWh | USD 0.26m/MWh | Upper end / above range |
| Grid connection | 5%-8% of total cost | 8.7% | Above range |
| Contingency | 3%-5% of construction cost | 6%+ of total project cost | High |
| Corporate overhead | 1%-3% of total cost | 4.2% | High |
| Net capacity factor | 22%-25% | 24.7%-25.5% across documents | Plausible but inconsistent |

# 4. Key benchmark challenges

Reconcile the project cost across the deck, memorandum and workbook.

Support the BESS equipment cost and augmentation assumptions with firm supplier quotations.

Validate grid reinforcement scope and whether any utility contribution is available.

Demonstrate that advisory and corporate-overhead scopes do not overlap.

Provide an independent merchant curve and downside confidence range.

Quantify the return impact of delayed COD, combined downside and battery augmentation.

# 5. Public comparator references available in the POC repository

ADB Gulf Solar and Solar with BESS project documents.

ADB utility-scale BESS and floating-solar project pages.

IFC solar, renewables-platform and BESS disclosures.

World Bank Private Participation in Infrastructure project database.

NREL Annual Technology Baseline model parameters.

SEC annual reports and XBRL facts for selected renewable-energy companies.